## Sheet1
Lab | Location | Method | Matrix | Number of PFAS Compounds | Cost | Website URL | More Information
Michigan State Univeristy Analytical Laboratory | East Lansing, MI | EPA 537.1 | Drinking Water | 18 | Internal: $191.43; External: $241.20 | https://www.canr.msu.edu/pfas-research/analytical-laboratory/ | Turn around time typically ranges between 3-6 weeks depending on the number of samples submitted, methods used and sample matrix. Please reach out to lab staff for further details on pricing, sampling and turn around times. Lab staff can be located by clicking the "Staff" link on the "Analytical Labratory" tab of the Center for PFAS Research Webpage. For more information on sample collection, visit the analytical laboratory page, click the "Testing" link and then click the "Sample Collection" link.
|  | EPA 533 | Drinking Water | 25 | Internal: $191.43; External: $241.20
|  | Modified EPA 537.1 | Surface Water | 18 | Internal: $191.43; External: $241.20
|  | Modified EPA 533 | Surface Water | 25 | Internal: $191.43; External: $241.20
|  | ASTM D7979 | Surface Water | 18 | Internal: $262.26; External: $330.45
|  | FDA Method C-010.02 | Food | 16 | Internal: $166.86; External: $210.24
|  | Modified FDA Method C-010.02 | Food | 16 | Internal: $166.86; External: $210.24
|  | EPA Draft Method 1633 | Potable/ Non-Potable Water | 40 | Internal: $304.55; External: $383.73
|  | EPA Draft Method 1633 | Solids | 40 | Internal: $304.55; External: $383.73
|  | ASTM D7968 | Solids | 18 | Internal: $262.49; External: $330.74
|  | Modified ASTM D7968 | Solids | 18 | Internal: $262.49; External: $330.74
|  | EPA Draft Method 1633 | Biota & Biofluids | 40 | Internal: $304.55; External: $383.73
|  | Modified EPA Draft Method 1633 | Varied | 40 | Internal: $304.55; External: $383.73
|  | Modified ASTM D7979 | Varied | 18 | Internal: $262.26; External: $330.45
|  | EPA Draft Method 1633 | Soil | 40 | Internal: $304.55; External: $383.73
|  | ASTM D7968 | Soil | 18 | Internal: $262.49; External: $330.74
|  | Modified ASTM D7968 | Soil | 18 | Internal: $262.49; External: $330.74
|  | ASTM D7979 | Groundwater | 18 | Internal: $262.26; External: $330.45
|  | ASTM D7979 | Wastewater | 18 | Internal: $262.26; External: $330.45
|  | ASTM D7979 | Leachate | 18 | Internal: $262.26; External: $330.45
|  | Individual Analyte Analysis | Discuss with lab staff | 1 | Internal: $103.85; External: $130.85
EGLE Drinking Water Laboratory | Lansing, MI | EPA 533 | Drinking Water | 25 | 290 | https://www.michigan.gov/egle/about/organization/remediation-and-redevelopment/laboratory/drinking-water | For EPA 533, turn around times are typically around 56 days and for EPA 537.1 the turn around time is 42 days. Call 517-335-8184 in advance to drop off samples.
|  | EPA 537.1 | Drinking Water | 18 | 290
EGLE Environmental Laboratory | Lansing, MI | EPA 533 | Drinking Water | 25 | 290 | https://www.michigan.gov/egle/about/organization/remediation-and-redevelopment/laboratory/environmental | Reach out to the lab director Kirby Shane (shanek@michigan.gov) for more information on sampling with EGLE's Environmental Laboratory. Technicians are not avalible for sampling at this laboratory.
|  | EPA 1633 | Surface Water |  | 500
|  | EPA 8327 | Surface Water |  | 250
|  | EPA 1633 | Groundwater |  | 500
|  | EPA 8327 | Groundwater |  | 250
|  | EPA 1633 | Wastewater |  | 500
|  | EPA 8327 | Wastewater |  | 250
|  | EPA 8327 | Soil |  | 300
|  | EPA 8327 | Sediment |  | 300
ALS Environmental | Holland, MI | EPA 537.1 | Drinking Water | 18 | 250 | https://www.alsglobal.com/en/environmental-monitoring | Turn around times range from 7-10 buisness days for all methods except for EPA 1633. EPA 1633 typically takes 15 buisness days due to its complexity. Technicians are not avalible for sampling.
|  | EPA 533 | Drinking Water | 25 | 250
|  | Modified EPA 537.1 | Non-potable Water |  | 250
|  | ASTM D7979 | Non-potable Water |  | 250
|  | Modified EPA 537.1 | Soil |  | 250
|  | EPA 1633 | Soil |  | 450
|  | ASTM 7968 | Soil |  | 275
|  | EPA 8327 | Soil |  | 250
|  | EPA 1633 | Wastewater |  | 450
|  | EPA 1633 | Sediment |  | 450
|  | EPA 1633 | Biosolids |  | 450
|  | EPA 8327 | Water |  | 250
Enviro Lab Services, Inc. | Oscoda, MI | EPA 537.1 | Drinking Water | 18 | 290 | https://enviro-britesolutions.com/ | Turn around time typically ranges between 14 and 17 days. Rushed analysis is avalible for an additional cost and the turn around time is between 5-7 days. Sampling and courier services are also avalible at an addional cost. There are discounts avalible for large batches of samples.
|  | EPA 537.1 | Surface Water | 18 | 290
|  | EPA 537.1 | POTW | 18 | 290
|  | EPA 537.1 | Well Water | 18 | 290
|  | EPA 1633 | Wastewater | 40 | $340-$390
|  | EPA 1633 | Soil | 40 | $340-$390
|  | EPA 1633 | Biosolids | 40 | $340-$390
|  | EPA 1633 | Animal Tissue | 40 | $340-$390
|  | EPA 1633 | Landfill Leachate | 40 | $340-$390
|  | EPA 1633 | Aqueous Foam | 40 | $340-$390
|  | EPA 1633 | Sediment | 40 | $340-$390
|  |  | Blood |  | 249
|  | EPA 1633 | Crop Tissue | 40 | $340-$390
Metiri-Holt (Formerly Fibertec Environmental Services) | Holt, MI | EPA 533 | Drinking Water | 25 |  | https://metirigroup.com/analytical-services/specialty/pfas/ | The routine turn around time is between 10-15 buisness days, however, rushed samples can be returned within 3-5 buisness days for an additional cost. Depending on sample weight/ volume and type of analysis, additional costs can be added onto base sampling cost. Technicians are not avalible for sampling.
|  | EPA 537.1 | Drinking Water | 18
|  | EPA 1633 | Soil | 40 | 500
|  | EPA 1633 | Water | 40
|  | EPA 1633/ Modified EPA 537 | Groundwater | 40
|  | EPA 1633/ Modified EPA 537 | Wastewater | 40
|  | EPA 1633/ Modified EPA 537 | Biosolids | 40
|  | EPA 1633/ Modified EPA 537 | Concrete | 40
|  | EPA 1633/ Modified EPA 537 | Plastics | 40
|  | EPA 1633/ Modified EPA 537 | Cloths | 40
|  | EPA 1633/ Modified EPA 537 | Turfgrass | 40
|  | EPA 1633/ Modified EPA 537 | Plant Material | 40
Merit Labratories, Inc. | East Lansing, MI | EPA 533 | Drinking Water | 25 | $304 (Including field blank) | https://www.meritlabs.com/pfas | Turn around times range from 28 days to 56 days depending on sample type, matrix and methods used. EPA 533 turn around time is ~56 days, EPA 537.1 ~42 days, and both ASTM methods ~28 days. PFC free water is avalible for $35/L and there are extra fees for samples recieved but not analyszed or samples that need to be disposed by the lab. Sample bottles are avalible at no cost and can be picked up or shipped via UPS.
|  | EPA 537.1 | Drinking Water | 18 | $304 (Including field blank)
|  | ASTM D7979 | Groundwater | 34 | 350
|  | ASTM D7979 | Surface Water | 34 | 350
|  | ASTM D7979 | Wastewater | 34 | 350
|  | ASTM D7968 | Soil | 34 | 350
|  | ASTM D7968 | Biosolids | 34 | 350
Prein & Newhof | Grand Rapids, MI | EPA 537.1 | Drinking Water | 18 | $350 (Including Field Blank) | https://www.preinnewhof.com/clean-water/ | Technicians are avalible for sampling at a cost of $2/mile round trip with a minimum cost of $50. Reach out to the Lab Manager, Stephen Bylsma (Sbylsma@preinnewhof.com) or call 616-364-7600 for more information. Turn around time is typically 10 buisness days for waste water and drinking water.
|  | Modified EPA 537.1 | Wastewater | 28 | 450
|  |  | Surface Water |  | 450
|  |  | Groundwater |  | 450
|  | ASTM 7968 | Soil | 34 | 450
Paragon Labratories, Inc. | Livonia, MI | EPA 537.1 | Drinking Water | 18 | 290 | https://www.paragonlaboratories.com/pfas | Technicians are avalible for an additional fee. Turn around time for waters is typically 10 buisness days. Visit the web page to view any extra fees related to shipping, labor or milage. Call 734-462-3900 for more information.
|  | EPA 537.1 Modified | Drinking Water | 28 | 380
|  | ASTM D7979 | Wastewater | 28 | 380
|  | ASTM D7968 | Wastewater | 28 | 380
|  | EPA 1633 | Wastewater | 40 | 480
|  | ASTM D7979 | Other Waters | 29 | 380
|  | ASTM D7968 | Other Waters | 28 | 380
|  | EPA 1633 | Other Waters | 40 | 480
|  | ASTM D7979 | Solids | 28 | 380
|  | ASTM D7968 | Solids | 28 | 380
|  | EPA 1633 | Solids | 40 | 480
RTI Laboratories | Livonia, MI | EPA 1633 | Various Waters | 40 | $350-$450 | https://rtilab.com/2680-2/ | Technicians are not avalible for sampling. Turn around time is typically 3 weeks from the recipt with options for expedited results.
|  | EPA 1633 | Soilds | 40 | $350-$450
|  | EPA 1633 | Tissues | 40 | $350-$450
Cyclopure |  |  | Various Waters | 55 | 79 | https://cyclopure.com/product/water-test-kit-pfas/?srsltid=AfmBOoqXLoLDz1empevQYAWTcS3eaZXxtK0WxaY3ZWxsHEUta8VhYsUN | This is an at home test kit that analyzes water samples for 55 PFAS compounds. The turn around time is between 10-14 days.